## data
Parameter | Matrix | Method | Unit | N | C_min | C_max | Alpha | Beta
2,4-D | drinking water | all | µg/l | 53 | 0.04916 | 0.7812 | 0 | 0.231413
2,4-DB | drinking water | all | µg/l | 53 | 0.06016 | 0.8102 | 0 | 0.246821
2,4,5-T | drinking water | all | µg/l | 53 | 0.06481 | 0.8081 | 0 | 0.226468
a-endosulfan | drinking water | all | µg/l | 14 | 0.0819 | 0.6118 | 0 | 0.19627
desethylatrazine | drinking water | SPE-HPLC/UV | µg/l | 18 | 0.1191 | 0.710007 | 0 | 0.198424
desethylatrazine | drinking water | SPE-GC/MS | µg/l | 12 | 0.1191 | 0.710007 | 0 | 0
chromium (VI) | drinking water | photometric | µg/l | 24 | 857576 | 592967 | 0 | 0.0513272
chromium | drinking water | ICP-OES | µg/l | 24 | 856836 | 102613 | 0 | 0.0611185
chromium | drinking water | ICP-MS | µg/l | 22 | 856836 | 102613 | 0 | 0.0540861
chlortoluron | drinking water | SPE-HPLC/UV | µg/l | 18 | 0.090561 | 0.812599 | 0 | 0.144397
chlortoluron | drinking water | SPE-HPLC/MS | µg/l | 13 | 0.095312 | 0.812599 | 0 | 0.18622
chloroform | drinking water | GC-HS/MS | µg/l | 43 | 239117 | 160137 | 0 | 0.170351
chloride | drinking water | IC | mg/l | 42 | 209994 | 265646 | 0 | 0.0306688
calcium | drinking water | complexometric | mg/l | 13 | 508821 | 201797 | 249529 | 0.0209823
calcium | drinking water | IC | mg/l | 16 | 503154 | 183134 | 0 | 0.0249811
cadmium | drinking water | ICP-OES | µg/l | 24 | 105057 | 101665 | 0 | 0.0634721
cadmium | drinking water | ICP-MS | µg/l | 23 | 105057 | 101665 | 0 | 0.0732751
bromoform | drinking water | GC-HS/MS | µg/l | 44 | 184097 | 166764 | 0 | 0.166231
bromoform | drinking water | GC-HS/ECD | µg/l | 44 | 193958 | 174056 | 0 | 0.153597
bromodichloromethane | drinking water | GC-HS/ECD | µg/l | 44 | 234338 | 157827 | 0 | 0.148997
boron | drinking water | ICP-OES | µg/l | 36 | 0.07942 | 148864 | 0 | 0.0528623
boron | drinking water | photometric | µg/l | 28 | 0.07942 | 148864 | 0 | 0.0621303
lead | drinking water | GF-AAS | µg/l | 33 | 486242 | 481076 | 0 | 0.121506
benzene | drinking water | GC-HS/FID | µg/l | 44 | 100212 | 906126 | 0 | 0.221093
benzo(k)fluoranthene | drinking water | LLE-GC/MS | µg/l | 21 | 0.02782 | 0.205605 | 0 | 0.239527
benzo(k)fluoranthene | drinking water | LLE-HPLC | µg/l | 42 | 0.02782 | 0.205605 | 0 | 0.175228
benzo(ghi)perylene | drinking water | LLE-HPLC | µg/l | 42 | 0.027106 | 0.209578 | 0 | 0.257609
benzo(a)pyrene | drinking water | LLE-GC/MS | µg/l | 22 | 0.025597 | 0.209902 | 0 | 0.292347
benzo(a)pyrene | drinking water | LLE-HPLC | µg/l | 40 | 0.027617 | 0.230254 | 0 | 0.179993
bentazone | drinking water | GC-MS | µg/l | 12 | 0.088812 | 0.859085 | 0 | 0
atrazine | drinking water | SPE-GC/MS | µg/l | 13 | 0.095012 | 0.841144 | 0 | 0.184663
arsenic | drinking water | ICP-OES | µg/l | 19 | 288614 | 200852 | 0 | 0.176836
antimony | drinking water | ICP-OES | µg/l | 18 | 238198 | 182842 | 0 | 0.249127
antimony | drinking water | ICP-MS | µg/l | 35 | 232285 | 190567 | 0 | 0.163964
ammonium | drinking water | CFA/FIA | mg/l | 26 | 0.229988 | 985749 | 0.0277819 | 0.0507138
antimony | drinking water | GF-AAS | µg/l | 17 | 232285 | 190567 | 0 | 0.222783
aluminium | drinking water | ICP-MS | mg/l | 19 | 0.052985 | 0.197735 | 0.00492087 | 0.0420545
1,2-dichloroethane | drinking water | GC-HS/MS | µg/l | 45 | 233736 | 154387 | 0 | 0.155756
magnesium | waste water | ICP-OES | µg/l | 12 | 5168 | 71763.6 | 0 | 0
calcium | waste water | ICP-OES | µg/l | 24 | 28869.9 | 140963 | 0 | 0.0494434
boron | waste water | photometric | µg/l | 24 | 200178 | 2065.82 | 0 | 0.077034
boron | waste water | ICP-OES | µg/l | 24 | 185235 | 1980.1 | 0 | 0.0795759
zinc | waste water | F-AAS | µg/l | 36 | 790161 | 4878.01 | 0 | 0.059182
nickel | waste water | ICP-MS | µg/l | 7 | 96.58 | 871625 | 0 | 0
iron | waste water | AAS | µg/l | 40 | 119286 | 3011.54 | 0 | 0.0785299
chromium | waste water | ICP-MS | µg/l | 10 | 54.12 | 970.88 | 0 | 0
aluminium | waste water | ICP-OES | µg/l | 45 | 198.52 | 2073.13 | 0 | 0.0813499
dichloromethane | waste water | GC-HS/MS | µg/l | 42 | 23955 | 1078.88 | 0 | 0.170058
1,1,1-trichloroethane | waste water | GC-HS/ECD | µg/l | 42 | 122416 | 943448 | 0 | 0.202319
tetrachloroethene | waste water | GC-HS/ECD | µg/l | 42 | 123057 | 973513 | 0 | 0.22595
tetrachloroethene | waste water | GC-HS/MS | µg/l | 42 | 104133 | 1036.12 | 0 | 0.19088
m-,p-xylene | waste water | GC-HS/MS | µg/l | 42 | 132101 | 1110.29 | 0 | 0.188158
m-,p-xylene | waste water | GC-HS/FID | µg/l | 42 | 12541 | 1108.28 | 0 | 0.157161
o-xylene | waste water | GC-HS/MS | µg/l | 42 | 102775 | 1075.6 | 0 | 0.182013
o-xylene | waste water | GC-HS/FID | µg/l | 42 | 102314 | 1031.74 | 0 | 0.139594
toluene | waste water | GC-HS/MS | µg/l | 42 | 123137 | 995497 | 0 | 0.177837
total P | waste water | photometric - peroxodisulfate | mg/l | 30 | 0.626601 | 961304 | 0 | 0.0352775
ammonium-N | waste water | CFA/FIA | mg/l | 49 | 198486 | 497542 | 0 | 0.0451007
ammonium-N | waste water | photometric | mg/l | 51 | 210414 | 499057 | 0 | 0.0461178
COD | waste water | cuvette test | mg/l | 15 | 409943 | 198716 | 0 | 0.0534702
trichloroethene | waste water | all | µg/l | 69 | 12907 | 985588 | 0 | 0.192215
toluene | waste water | all | µg/l | 69 | 1993-10-01 | 1000.16 | 0 | 0.147014
TNb | waste water | all | mg/l | 93 | 919231 | 190651 | 0 | 0.104872
nitrate-N | waste water | all | mg/l | 119 | 3814 | 417278 | 0 | 0.0377601
nickel | waste water | all | µg/l | 227 | 43216 | 1029.82 | 0 | 0.0620517
dichloromethane | waste water | all | µg/l | 69 | 244044 | 1165.36 | 0 | 0.185893
COD | waste water | all | mg/l | 189 | 28998 | 266 | 334464 | 0.022668
cadmium | waste water | all | µg/l | 220 | 0.519 | 10583 | 0 | 0.134026
arsenic | waste water | all | µg/l | 183 | 4756 | 201907 | 0 | 0.0935747
AOX | waste water | all | µg/l | 186 | 204901 | 1363.46 | 753144 | 0.0919312
1,1,1-trichloroethane | waste water | all | µg/l | 69 | 11798 | 981669 | 0 | 0.201367
silicate | drinking water | all | mg/l SiO2 | 59 | 336197 | 509648 | 0 | 0.0702702
selenium | drinking water | all | µg/l | 89 | 3 | 449.8 | 0 | 0.129793
antimony | drinking water | all | µg/l | 108 | 2022-03-02 | 423.8 | 0 | 0.137605
p,p-DDD | drinking water | all | µg/l | 24 | 0.0245226 | 0.405836 | 0 | 0.231897
lead | drinking water | all | µg/l | 77 | 2022-08-04 | 90.5 | 0 | 0.0981738
tetrachloroethene | drinking water | all | µg/l | 99 | 0.524766 | 184875 | 0 | 0.196009
Permanganate index | drinking water | all | mg/l | 113 | 10262 | 21 | 0.286198 | 0.0637634
nitrate | drinking water | all | mg/l | 158 | 2022-09-04 | 189898 | 0 | 0.0356545
nickel | drinking water | all | µg/l | 77 | 2022-09-05 | 89.8 | 0 | 0.0712543
ammonium | drinking water | all | mg/l | 136 | 0.084134 | 985749 | 0 | 0.0604467
manganese | drinking water | all | mg/l | 143 | 0.01606 | 0.664 | 0 | 0.0650428
magnesium | drinking water | all | mg/l | 66 | 6205 | 753308 | 0 | 0.0424513
metolachlor | drinking water | all | µg/l | 42 | 0.069 | 0.755906 | 0 | 0.194351
metobromurone | drinking water | all | µg/l | 30 | 0.0539 | 0.881281 | 0 | 0.170608
electrical conductivity | drinking water | all | µS/cm | 115 | 264.25 | 5387 | 0 | 0.0126863
potassium | drinking water | all | mg/l | 102 | 1549 | 37536 | 0 | 0.0510377
ioxynil | drinking water | all | µg/l | 14 | 0.091 | 0.732 | 0 | 0.324875
Indeno(1,2,3-cd)pyrene | drinking water | all | µg/l | 92 | 0.013 | 0.257643 | 0 | 0.271875
mercury | drinking water | all | µg/l | 60 | 0.529873 | 1958-11-01 | 0 | 0.120782
heptachlor | drinking water | all | µg/l | 21 | 0.0417 | 0.488 | 0 | 0.30047
g-HCH | drinking water | all | µg/l | 38 | 0.0273 | 0.6474 | 0 | 0.206667
1,2-dichloroethane | drinking water | all | µg/l | 92 | 14469 | 160758 | 0 | 0.181159
dibromochloromethane | drinking water | GC-HS/ECD | µg/l | 44 | 242841 | 153528 | 0 | 0.151422
desethylatrazine | drinking water | SPE-HPLC/MS | µg/l | 8 | 0.122603 | 0.624626 | 0 | 0
cyanide | drinking water | CFA/FIA | mg/l | 28 | 0.0180208 | 0.124421 | 0 | 0.166833
cyanide | drinking water | photometric | mg/l | 50 | 0.0189583 | 0.133901 | 0 | 0.161189
chromium | drinking water | GF-AAS | µg/l | 25 | 856836 | 102613 | 0 | 0.131203
chloroform | drinking water | GC-HS/ECD | µg/l | 43 | 239117 | 160137 | 0 | 0.147137
chloride | drinking water | potentiometric | mg/l | 10 | 282734 | 265646 | 0 | 0
calcium | drinking water | ICP-OES | mg/l | 30 | 503154 | 205699 | 0 | 0.0377399
calcium | drinking water | F-AAS | mg/l | 21 | 503154 | 201797 | 0 | 0.0462722
cadmium | drinking water | GF-AAS | µg/l | 34 | 105057 | 101665 | 0 | 0.125958
bromoxynil | drinking water | GC-MS | µg/l | 11 | 0.0929708 | 0.816355 | 0 | 0
bromodichloromethane | drinking water | GC-HS/MS | µg/l | 44 | 234338 | 157827 | 0 | 0.152985
bromate | drinking water | IC direct | µg/l | 42 | 0.007979 | 0.051366 | 0 | 0.314724
lead | drinking water | ICP-OES | µg/l | 24 | 486242 | 481076 | 0 | 0.0927638
lead | drinking water | ICP-MS | µg/l | 23 | 486242 | 481076 | 0 | 0.0859458
benzene | drinking water | LLE-GC/MS | µg/l | 11 | 102161 | 906126 | 0 | 0
benzene | drinking water | GC-HS/MS | µg/l | 45 | 102122 | 906126 | 0 | 0.151725
benzo(ghi)perylene | drinking water | LLE-GC/MS | µg/l | 22 | 0.027106 | 0.209578 | 0 | 0.277921
benzo(b)fluoranthene | drinking water | LLE-GC/MS | µg/l | 22 | 0.025597 | 0.209902 | 0 | 0.292347
benzo(b)fluoranthene | drinking water | LLE-HPLC | µg/l | 42 | 0.025597 | 0.209902 | 0 | 0.182221
atrazine | drinking water | SPE-HPLC/UV | µg/l | 18 | 0.095012 | 0.841144 | 0 | 0.126499
atrazine | drinking water | SPE-HPLC/MS | µg/l | 8 | 0.095012 | 0.743016 | 0 | 0
arsenic | drinking water | ICP-MS | µg/l | 24 | 288614 | 200852 | 0 | 0.0965414
arsenic | drinking water | H-AAS | µg/l | 23 | 288614 | 200852 | 0 | 0.100209
arsenic | drinking water | GF-AAS | µg/l | 6 | 795015 | 184301 | 0 | 0
antimony | drinking water | H-AAS | µg/l | 34 | 232285 | 190567 | 0 | 0.139962
ammonium | drinking water | photometric | mg/l | 30 | 0.229988 | 985749 | 0 | 0.0551091
diurone | drinking water | all | µg/l | 69 | 0.0569 | 0.808719 | 0 | 0.172937
dimethoat | drinking water | all | µg/l | 9 | 0.077 | 0.212 | 0 | 0
aluminium | drinking water | ICP-OES | mg/l | 21 | 0.052985 | 0.197735 | 0 | 0.0946167
2,4-DP | drinking water | GC-MS | µg/l | 17 | 0.098226 | 0.874681 | 0 | 0.241815
2,4-DB | drinking water | GC-MS | µg/l | 19 | 0.088748 | 0.755347 | 0 | 0.286484
2,4-D | drinking water | GC-MS | µg/l | 19 | 0.085291 | 0.726167 | 0 | 0.308895
2,4,5-T | drinking water | GC-MS | µg/l | 29 | 0.092629 | 0.726209 | 0 | 0.254434
1,2-dichloroethane | drinking water | GC-HS/ECD | µg/l | 45 | 233736 | 166086 | 0 | 0.191376
magnesium | waste water | F-AAS | µg/l | 12 | 5206 | 70197.3 | 0 | 0
calcium | waste water | F-AAS | µg/l | 23 | 29391.3 | 145952 | 0 | 0.0635926
total P | drinking water | all | mg/l | 49 | 0.12649 | 535379 | 0 | 0.097911
nitrite | drinking water | all | mg/l | 121 | 0.049 | 14447 | 0 | 0.0466983
sodium | drinking water | all | mg/l | 110 | 8836 | 185682 | 0 | 0.0401896
metribuzin | drinking water | all | µg/l | 30 | 0.068 | 10234 | 0 | 0.20408
metazachlor | drinking water | all | µg/l | 15 | 0.119685 | 0.827 | 0 | 0.255564
mecoprop | drinking water | all | µg/l | 67 | 0.05846 | 0.8464 | 0 | 0.201461
MCPB | drinking water | all | µg/l | 53 | 0.06283 | 0.80781 | 0 | 0.225554
MCPA | drinking water | all | µg/l | 67 | 0.0804047 | 0.88991 | 0 | 0.23007
linuron | drinking water | all | µg/l | 15 | 0.144978 | 0.68752 | 0 | 0.166377
isoproturone | drinking water | all | µg/l | 69 | 0.059775 | 0.7742 | 0 | 0.171224
hexachlorobenzene | drinking water | all | µg/l | 45 | 0.0184 | 0.522515 | 0 | 0.254413
fenoprop | drinking water | all | µg/l | 53 | 0.06969 | 0.8217 | 0 | 0.182602
iron | drinking water | all | mg/l | 184 | 0.03106 | 2788 | 0 | 0.0626757
fluoride | drinking water | all | mg/l | 113 | 0.3948 | 4842 | 0 | 0.0598182
epichlorohydrine | drinking water | all | µg/l | 9 | 0.126353 | 0.98657 | 0 | 0
endrin | drinking water | all | µg/l | 15 | 0.0259 | 0.460973 | 0 | 0.264601
dieldrin | drinking water | all | µg/l | 45 | 0.0267 | 0.56463 | 0 | 0.210729
dichlorprop | drinking water | all | µg/l | 67 | 0.0741 | 0.874681 | 0 | 0.200368
dibromochloromethane | drinking water | all | µg/l | 99 | 0.274579 | 241129 | 0 | 0.157815
d-HCH | drinking water | all | µg/l | 15 | 0.0256 | 0.446872 | 0 | 0.270393
desisopropylatrazine | drinking water | all | µg/l | 18 | 0.155303 | 0.786547 | 0 | 0.268639
desethylatrazine | drinking water | all | µg/l | 45 | 0.0618 | 0.855 | 0 | 0.204529
copper | drinking water | all | µg/l | 116 | 210938 | 4452.1 | 0 | 0.0528378
cyanide | drinking water | all | mg/l | 77 | 0.009 | 0.133901 | 0 | 0.181968
chloride | drinking water | all | mg/l | 113 | 122483 | 289636 | 0 | 0.0291078
chromium (VI) | drinking water | all | µg/l | 55 | 857576 | 88 | 0 | 0.0557363
chromium | drinking water | all | µg/l | 77 | 1991-05-01 | 102613 | 0 | 0.0755565
chlortoluron | drinking water | all | µg/l | 54 | 0.069 | 0.812599 | 0 | 0.159282
chloroform | drinking water | all | µg/l | 99 | 0.5634 | 223871 | 0 | 0.162885
cadmium | drinking water | all | µg/l | 78 | 105057 | 51.7 | 0 | 0.080621
calcium | drinking water | all | mg/l | 73 | 20821 | 201797 | 0 | 0.0365416
bromoxynil | drinking water | all | µg/l | 67 | 0.06085 | 0.8781 | 0 | 0.253397
bromoform | drinking water | all | µg/l | 99 | 0.293117 | 227734 | 0 | 0.162036
bromodichloromethane | drinking water | all | µg/l | 98 | 0.5911 | 226431 | 0 | 0.15017
bromate | drinking water | all | mg/l | 77 | 0.0074 | 0.07 | 0 | 0.251034
benzene | drinking water | all | µg/l | 79 | 0.493 | 906126 | 0 | 0.199548
benzo(k)fluoranthene | drinking water | all | µg/l | 92 | 0.011 | 0.205605 | 0 | 0.197224
benzo(ghi)perylene | drinking water | all | µg/l | 92 | 0.016 | 0.24 | 0 | 0.275359
benzo(b)fluoranthene | drinking water | all | µg/l | 92 | 0.008 | 0.2332 | 0 | 0.185201
benzo(a)pyrene | drinking water | all | µg/l | 92 | 0.005 | 0.230254 | 0 | 0.221086
bentazone | drinking water | all | µg/l | 67 | 0.06581 | 0.859084 | 0 | 0.234688
b-endosulfan | drinking water | all | µg/l | 14 | 0.0655 | 0.5632 | 0 | 0.190101
boron | drinking water | all | mg/l | 94 | 0.07942 | 194145 | 0 | 0.0619642
atrazine | drinking water | all | µg/l | 69 | 0.0567 | 0.833 | 0 | 0.153923
arsenic | drinking water | all | µg/l | 89 | 259565 | 278.7 | 0 | 0.0937041
aldrin | drinking water | all | µg/l | 39 | 0.0225322 | 0.676065 | 0 | 0.249853
a-HCH | drinking water | all | µg/l | 9 | 0.034 | 0.087 | 0 | 0
aluminium | drinking water | all | mg/l | 173 | 0.0345251 | 1322 | 0 | 0.0886672
fenoprop | drinking water | GC-MS | µg/l | 20 | 0.084176 | 0.785141 | 0 | 0.226187
iron | drinking water | photometric | mg/l | 8 | 0.102486 | 0.631846 | 0 | 0
iron | drinking water | ICP-OES | mg/l | 21 | 0.098844 | 0.929647 | 0 | 0.0548327
diurone | drinking water | SPE-HPLC/UV | µg/l | 18 | 0.085493 | 0.808719 | 0.017466 | 0.128522
diurone | drinking water | SPE-HPLC/MS | µg/l | 13 | 0.085493 | 0.808719 | 0 | 0.190093
dibromochloromethane | drinking water | GC-HS/MS | µg/l | 44 | 234884 | 153528 | 0 | 0.1641
mercury | waste water | amalgam method | µg/l | 18 | 0.307063 | 100767 | 0 | 0.145003
mercury | waste water | CV-AAS | µg/l | 39 | 0.380888 | 97982 | 0.114517 | 0.137644
zinc | waste water | ICP-OES | µg/l | 45 | 52163 | 5037.29 | 0 | 0.0617755
nickel | waste water | AAS | µg/l | 38 | 557395 | 963204 | 0 | 0.0579866
nickel | waste water | ICP-OES | µg/l | 45 | 43069 | 940241 | 0 | 0.0574175
copper | waste water | AAS | µg/l | 39 | 449625 | 970397 | 0 | 0.0518031
copper | waste water | ICP-OES | µg/l | 45 | 459481 | 929.62 | 0 | 0.0532823
iron | waste water | ICP-OES | µg/l | 45 | 113894 | 2985.04 | 0 | 0.0533276
chromium | waste water | AAS | µg/l | 38 | 53.85 | 975167 | 0 | 0.123905
chromium | waste water | ICP-OES | µg/l | 45 | 29976 | 983249 | 0 | 0.05795
cadmium | waste water | GF-AAS | µg/l | 39 | 0.705921 | 954797 | 0 | 0.146086
cadmium | waste water | ICP-MS | µg/l | 24 | 0.709 | 8938 | 0.165145 | 0.0675473
cadmium | waste water | ICP-OES | µg/l | 43 | 0.74174 | 99072 | 0 | 0.145911
lead | waste water | GF-AAS | µg/l | 39 | 175439 | 211419 | 0 | 0.122158
lead | waste water | ICP-MS | µg/l | 20 | 18927 | 189.7 | 0 | 0.0655634
lead | waste water | ICP-OES | µg/l | 45 | 155648 | 207.81 | 0 | 0.0749657
arsenic | waste water | H-AAS | µg/l | 43 | 574756 | 198194 | 0 | 0.111615
arsenic | waste water | GF-AAS | µg/l | 19 | 532714 | 212125 | 0 | 0.155822
arsenic | waste water | ICP-MS | µg/l | 19 | 24125 | 182885 | 0 | 0.0808014
arsenic | waste water | ICP-OES | µg/l | 43 | 24075 | 193.4 | 0 | 0.0877706
aluminium | waste water | AAS | µg/l | 30 | 229 | 2123.68 | 0 | 0.160108
dichloromethane | waste water | GC-HS/ECD | µg/l | 42 | 267004 | 1088.37 | 0 | 0.187921
1,1,1-trichloroethane | waste water | GC-HS/MS | µg/l | 42 | 119222 | 1050.7 | 0 | 0.196163
trichloroethene | waste water | GC-HS/ECD | µg/l | 42 | 138233 | 974273 | 0 | 0.171634
trichloroethene | waste water | GC-HS/MS | µg/l | 42 | 128143 | 1009.7 | 0 | 0.189611
ethylbenzene | waste water | GC-HS/MS | µg/l | 42 | 147067 | 1055.03 | 0 | 0.189048
ethylbenzene | waste water | GC-HS/FID | µg/l | 42 | 139842 | 1067.81 | 0 | 0.136767
toluene | waste water | GC-HS/FID | µg/l | 42 | 123097 | 988399 | 0 | 0.130065
benzene | waste water | GC-HS/MS | µg/l | 42 | 126491 | 1087.49 | 0 | 0.181904
benzene | waste water | GC-HS/FID | µg/l | 42 | 131597 | 1061.41 | 0 | 0.138603
chromium (VI) | waste water | photometric | mg/l | 15 | 0.152608 | 198554 | 0 | 0.0359364
cyanide | waste water | CFA/FIA | mg/l | 15 | 0.208143 | 197723 | 0.0459552 | 0.11046
cyanide | waste water | distillation | mg/l | 30 | 0.271501 | 197742 | 0 | 0.122804
cyanide, l.f. | waste water | CFA/FIA | mg/l | 16 | 0.13059 | 0.998222 | 0.0361258 | 0.10192
cyanide, l.f. | waste water | distillation | mg/l | 30 | 0.13074 | 0.944921 | 0 | 0.196844
total P | waste water | photometric - nitric acid / sulfuric acid | mg/l | 23 | 0.600286 | 963762 | 0 | 0.0326117
total P | waste water | ICP-OES | mg/l | 45 | 0.55728 | 9984 | 0 | 0.0549133
sulfate | waste water | IC | mg/l | 21 | 832519 | 481.12 | 0 | 0.0320472
chloride | waste water | IC | mg/l | 21 | 70118 | 495.13 | 0 | 0.0323759
chloride | waste water | titrimetric | mg/l | 6 | 994667 | 446 | 0 | 0
nitrite-N | waste water | IC | mg/l | 36 | 0.116537 | 140002 | 0 | 0.0740302
nitrite-N | waste water | CFA/FIA | mg/l | 7 | 0.1306 | 137167 | 0 | 0
nitrite-N | waste water | photometric | mg/l | 42 | 0.114006 | 136429 | 0 | 0.02913
nitrate-N | waste water | photometric - DMP | mg/l | 21 | 467429 | 42.82 | 0 | 0.0540695
nitrate-N | waste water | CFA/FIA | mg/l | 12 | 433661 | 380717 | 0 | 0
nitrate-N | waste water | IC | mg/l | 51 | 429789 | 416606 | 0 | 0.033687
ammonium-N | waste water | titrimetric | mg/l | 29 | 192125 | 48.97 | 0.306713 | 0.0496003
TOC | waste water | difference, therm-catalytic | mg/l | 24 | 110347 | 288.95 | 0 | 0.0798698
TOC | waste water | direct, therm-catalytic | mg/l | 27 | 117345 | 292283 | 0 | 0.046504
COD | waste water | open reflux method | mg/l | 45 | 29903 | 191854 | 322047 | 0
AOX | waste water | microcolumn method | µg/l | 33 | 319177 | 899322 | 71399 | 0.0760524
AOX | waste water | batch adsorption method | µg/l | 33 | 362596 | 913767 | 101386 | 0.0724001
zinc | waste water | all | µg/l | 183 | 52.16 | 4949.51 | 0 | 0.058445
TOC | waste water | all | mg/l | 186 | 10302 | 299037 | 0 | 0.0488067
tetrachloroethene | waste water | all | µg/l | 69 | 1944-09-01 | 1004.4 | 0 | 0.208703
sulfate | waste water | all | mg/l | 62 | 34865 | 485294 | 0 | 0.0368513
total P | waste water | all | mg/l | 144 | 0.502 | 10284 | 0 | 0.0463848
phenol index | waste water | all | µg/l | 75 | 252455 | 170446 | 0 | 0.183077
o-xylene | waste water | all | µg/l | 69 | 100662 | 1049.28 | 0 | 0.156313
nitrite-N | waste water | all | mg/l | 105 | 0.058 | 136502 | 0 | 0.0394098
m-,p-xylene | waste water | all | µg/l | 69 | 125112 | 1101.49 | 0 | 0.171732
TPH | waste water | all | mg/l | 87 | 0.3 | 9474 | 0 | 0.277521
magnesium | waste water | all | mg/l | 42 | 102909 | 999229 | 0 | 0.0483628
copper | waste water | all | µg/l | 235 | 42195 | 1030.69 | 0 | 0.0605978
ethylbenzene | waste water | all | µg/l | 69 | 14356 | 1061.72 | 0 | 0.163392
iron | waste water | all | mg/l | 182 | 0.09865 | 827.12 | 0 | 0.0623419
cyanide, l.f. | waste water | all | mg/l | 57 | 0.117 | 0.951504 | 0 | 0.190529
cyanide | waste water | all | mg/l | 58 | 0.161 | 197484 | 0 | 0.145646
chromium (VI) | waste water | all | mg/l | 45 | 0.152608 | 198557 | 0 | 0.038858
chromium | waste water | all | µg/l | 227 | 30202 | 1020.66 | 0 | 0.0666062
chloride | waste water | all | mg/l | 62 | 55873 | 493671 | 0 | 0.0299682
calcium | waste water | all | mg/l | 83 | 271356 | 151774 | 0 | 0.0517021
BOD5 | waste water | all | mg/l | 51 | 106993 | 179568 | 0 | 0.147037
boron | waste water | all | µg/l | 84 | 106358 | 2008.45 | 0 | 0.0842737
lead | waste water | all | µg/l | 226 | 14643 | 426032 | 0 | 0.102607
benzene | waste water | all | µg/l | 69 | 12123 | 1072.32 | 0 | 0.153615
ammonium-N | waste water | all | mg/l | 118 | 1849 | 56352 | 0 | 0.0471295
aluminium | waste water | all | µg/l | 182 | 197767 | 2083.64 | 0 | 0.0851501
turbidity | drinking water | all | FNU | 114 | 0.2954 | 8609 | 0.0909416 | 0.0871045
trifluraline | drinking water | all | µg/l | 9 | 0.064 | 0.15 | 0 | 0
trichloroethene | drinking water | all | µg/l | 99 | 0.3794 | 175987 | 0 | 0.194104
TOC | drinking water | all | mg/l | 100 | 0.867794 | 2022-02-23 | 0.238208 | 0.0687786
terbuthylazine | drinking water | all | µg/l | 69 | 0.0543 | 0.811724 | 0 | 0.171997
sulfate | drinking water | all | mg/l | 92 | 20585 | 296024 | 0 | 0.0335573
simazine | drinking water | all | µg/l | 48 | 0.07 | 0.875 | 0 | 0.189466
colour (436 nm) | drinking water | all | 1/m | 103 | 0.146905 | 1965 | 0.0451141 | 0.0772742
propazine | drinking water | all | µg/l | 33 | 0.067 | 0.820257 | 0 | 0.154585
p,p-DDT | drinking water | all | µg/l | 24 | 0.0232796 | 0.402616 | 0 | 0.289542
p,p-DDE | drinking water | all | µg/l | 21 | 0.0544 | 0.599 | 0 | 0.232255
o-phosphate | drinking water | all | mg/l | 28 | 0.381 | 112502 | 0 | 0.122158
parathion-ethyl | drinking water | all | µg/l | 9 | 0.036 | 0.138 | 0 | 0
fluoride | drinking water | IC | mg/l | 42 | 0.455874 | 258356 | 0 | 0.0658008
fluoride | drinking water | ISE | mg/l | 41 | 0.455874 | 268427 | 0 | 0.0542574
total P | drinking water | photometric - peroxodisulfate | mg/l | 42 | 111698 | 535379 | 0 | 0.0994616
total P | drinking water | ICP-OES | mg/l | 42 | 129261 | 535379 | 0 | 0.0677155
Indeno(1,2,3-cd)pyrene | drinking water | LLE-HPLC | µg/l | 42 | 0.030575 | 0.257643 | 0 | 0.25902
Indeno(1,2,3-cd)pyrene | drinking water | LLE-GC/MS | µg/l | 22 | 0.030575 | 0.257643 | 0 | 0.366753
isoproturone | drinking water | SPE-HPLC/MS | µg/l | 13 | 0.085306 | 0.768537 | 0 | 0.201575
isoproturone | drinking water | SPE-HPLC/UV | µg/l | 18 | 0.085306 | 0.768537 | 0 | 0.188099
potassium | drinking water | ICP-OES | mg/l | 21 | 292568 | 194673 | 0 | 0.0534313
potassium | drinking water | F-AAS | mg/l | 15 | 292568 | 185473 | 0 | 0.0531669
potassium | drinking water | IC | mg/l | 9 | 378136 | 181044 | 0 | 0
copper | drinking water | GF-AAS | µg/l | 22 | 210938 | 200.28 | 0 | 0.0838243
copper | drinking water | ICP-MS | µg/l | 22 | 210938 | 200.28 | 0 | 0.0551574
copper | drinking water | ICP-OES | µg/l | 24 | 210938 | 200.28 | 0 | 0.0537279
electrical conductivity | drinking water | potentiometric | µg/l | 24 | 317942 | 868.33 | 0 | 0.0133912
magnesium | drinking water | F-AAS | mg/l | 22 | 824103 | 509923 | 0 | 0.0401388
magnesium | drinking water | IC | mg/l | 18 | 824103 | 509923 | 0 | 0.0348192
magnesium | drinking water | ICP-OES | mg/l | 30 | 824103 | 510167 | 0 | 0.0402922
magnesium | drinking water | complexometric | mg/l | 12 | 824103 | 474579 | 0 | 0
manganese | drinking water | ICP-MS | mg/l | 17 | 0.0204496 | 0.493994 | 0 | 0.0504126
manganese | drinking water | ICP-OES | mg/l | 21 | 0.0203501 | 0.485683 | 0 | 0.0506131
MCPA | drinking water | GC-MS | µg/l | 20 | 0.0899674 | 0.88991 | 0 | 0.301584
MCPB | drinking water | GC-MS | µg/l | 18 | 0.089511 | 0.788007 | 0 | 0.250948
mecoprop | drinking water | GC-MS | µg/l | 20 | 0.092967 | 0.770908 | 0 | 0.252955
metobromurone | drinking water | SPE-HPLC/MS | µg/l | 11 | 0.094549 | 0.783128 | 0 | 0
metobromurone | drinking water | SPE-HPLC/UV | µg/l | 18 | 0.090397 | 0.881281 | 0 | 0.180824
metribuzin | drinking water | SPE-GC/MS | µg/l | 10 | 0.10998 | 10234 | 0 | 0
metribuzin | drinking water | SPE-HPLC/MS | µg/l | 8 | 0.109219 | 0.756078 | 0 | 0
metribuzin | drinking water | SPE-HPLC/UV | µg/l | 18 | 0.109219 | 10234 | 0 | 0.189796
sodium | drinking water | F-AAS | mg/l | 15 | 135224 | 148109 | 0 | 0.0361572
sodium | drinking water | IC | mg/l | 10 | 186453 | 135478 | 0 | 0
sodium | drinking water | ICP-OES | mg/l | 21 | 140988 | 148445 | 0 | 0.0459286
nickel | drinking water | GF-AAS | µg/l | 29 | 101067 | 478225 | 0 | 0.0829872
nickel | drinking water | ICP-MS | µg/l | 22 | 101067 | 469389 | 0 | 0.0545095
nickel | drinking water | ICP-OES | µg/l | 24 | 101067 | 478225 | 0 | 0.0798184
nitrate | drinking water | photometric - DMP | mg/l | 9 | 145715 | 623371 | 0 | 0
nitrate | drinking water | IC | mg/l | 42 | 610539 | 698929 | 0 | 0.0351053
nitrite | drinking water | CFA | mg/l | 8 | 0.185229 | 0.565595 | 0 | 0
nitrite | drinking water | photometric | mg/l | 42 | 0.086803 | 0.606337 | 0 | 0.0331526
nitrite | drinking water | IC | mg/l | 42 | 0.086803 | 0.606337 | 0.0242568 | 0.0910773
propazine | drinking water | SPE-GC/MS | µg/l | 11 | 0.086819 | 0.820257 | 0 | 0
propazine | drinking water | SPE-HPLC/MS | µg/l | 8 | 0.093525 | 0.694828 | 0 | 0
propazine | drinking water | SPE-HPLC/UV | µg/l | 18 | 0.086819 | 0.820257 | 0 | 0.157456
mercury | drinking water | amalgam method | µg/l | 10 | 0.53 | 9987 | 0 | 0
mercury | drinking water | CV-AAS/NaBH4 | µg/l | 21 | 0.53 | 9987 | 0.140371 | 0.155052
mercury | drinking water | CV-AAS/SnCl2 | µg/l | 30 | 0.53 | 9987 | 0 | 0.0992229
selenium | drinking water | GF-AAS | µg/l | 13 | 62561 | 283803 | 0 | 0.204039
selenium | drinking water | H-AAS | µg/l | 24 | 401217 | 304463 | 0 | 0.12486
selenium | drinking water | ICP-MS | µg/l | 23 | 401217 | 304463 | 0 | 0.120467
selenium | drinking water | ICP-OES | µg/l | 22 | 401217 | 304463 | 26333 | 0
silicate | drinking water | photometric | mg/l SiO2 | 24 | 531441 | 24.74 | 0 | 0.0537966
silicate | drinking water | ICP-OES | mg/l SiO2 | 24 | 531441 | 24.74 | 0 | 0.0845247
simazine | drinking water | SPE-GC/MS | µg/l | 14 | 0.086788 | 0.757617 | 0 | 0.190471
simazine | drinking water | SPE-HPLC/MS | µg/l | 8 | 0.086788 | 0.757617 | 0 | 0
simazine | drinking water | SPE-HPLC/UV | µg/l | 18 | 0.086788 | 0.757617 | 0 | 0.172383
sulfate | drinking water | IC | mg/l | 42 | 326653 | 265115 | 0 | 0.0322892
terbuthylazine | drinking water | SPE-GC/MS | µg/l | 14 | 0.088324 | 0.811724 | 0 | 0.142925
terbuthylazine | drinking water | SPE-HPLC/MS | µg/l | 8 | 0.088075 | 0.778466 | 0 | 0
terbuthylazine | drinking water | SPE-HPLC/UV | µg/l | 18 | 0.088075 | 0.811724 | 0 | 0.184745
tetrachloroethene | drinking water | GC-HS/ECD | µg/l | 44 | 122671 | 104434 | 0 | 0.201601
tetrachloroethene | drinking water | GC-HS/MS | µg/l | 44 | 124235 | 104747 | 0 | 0.187077
trichloroethene | drinking water | GC-HS/ECD | µg/l | 44 | 0.994738 | 1941-10-01 | 0 | 0.186343
trichloroethene | drinking water | GC-HS/MS | µg/l | 44 | 0.912641 | 102321 | 0 | 0.191645
mercury | waste water | all | µg/l | 105 | 0.205 | 98553 | 0.0909082 | 0.148187
copper | waste water | ICP-MS | µg/l | 5 | 59.7 | 905.02 | 0 | 0
uranium | drinking water | all | µg/l | 10 | 1931-01-01 | 17.45 | 0 | 0
2,4,5-T | drinking water | HPLC-MS/MS | µg/l | 5 | 0.124543 | 0.560022 | 0 | 0
2,4-D | drinking water | HPLC-MS/MS | µg/l | 6 | 0.0879491 | 0.738684 | 0 | 0
boron | drinking water | ICP-MS | mg/l | 9 | 0.0808781 | 144517 | 0 | 0
bromoxynil | drinking water | HPLC-MS/MS | µg/l | 5 | 0.140702 | 0.818395 | 0 | 0
dichlorprop | drinking water | HPLC-MS/MS | µg/l | 5 | 0.080405 | 0.739475 | 0 | 0
Permanganate index | drinking water | titrimetric | mg/l | 24 | 171587 | 753845 | 0.448751 | 0
MCPA | drinking water | HPLC-MS/MS | µg/l | 6 | 0.10049 | 0.572047 | 0 | 0
mercury | drinking water | AFS | µg/l | 7 | 0.47201 | 648768 | 0 | 0
colour (436 nm) | drinking water | photometric | 1/m | 21 | 0.146905 | 184722 | 0.0487882 | 0.113524
TOC | drinking water | combustion | mg/l | 24 | 0.867794 | 104434 | 0 | 0.0748661
turbidity | drinking water | nephelometric | FNU | 42 | 0.629867 | 24416 | 0 | 0.096891