## total
Estimation of sampling precision
for the determination of |  |  | nitrate in glasshouse grown lettuce
when sampling from |  |  | Example from Eurachem Guide for validation
based on "duplicate method" in:
Eurachem/EUROLAB/ CITAC/Nordtest/AMC Guide: Measurement uncertainty arising from sampling:
a guide to methods and approaches. www.eurachem.org
calculated by:
date: |  |  | signature:
| sampling target | sample 1 /result 1 | sample 1 /result 2 | sample 2 /result 1 | sample 2 /result 2
1 | target 1 | 3898 | 4139 | 4466 | 4693
2 | target 2 | 3910 | 3993 | 4201 | 4126
3 | target 3 | 5708 | 5903 | 4061 | 3782
4 | target 4 | 5028 | 4754 | 5450 | 5416
5 | target 5 | 4640 | 4401 | 4248 | 4191
6 | target 6 | 5182 | 5023 | 4662 | 4839
7 | target 7 | 3028 | 3224 | 3023 | 2901
8 | target 8 | 3966 | 4283 | 4131 | 3788
9 | target 9
10 | target 10
| total standard deviation: |  |  | 774.5296 | 17.82%
| between target standard deviation: |  |  | 556.2804 | 12.8%
| repeatability standard deviation of analysis: |  |  | 148.1806 | 3.41%
| sampling standard deviation: |  |  | 518.1609 | 11.92%
| expanded sampling uncertainty (without bias; k=2): |  |  |  | 23.85%
© 2020, Dr. Michael Koch, Institut für Siedlungswasserbau, Univ. Stuttgart, www.aqsbw.de
The use of this EXCEL-Sheet is free, as long as the copyright notice is not removed.
If it is expected that the frequency distributions of the analysis and of the variability between and within samples are contaminated with outliers, it is recommended to use robust estimation procedures. This will result in more reliable estimations of the variances. A programme for the calclaulation of robust ANOVA (RANOVA) is available from http://www.rsc.org/Membership/Networking/InterestGroups/Analytical/AMC/Software/index.asp.
ver. 1.2

## calculation
t=target; s=sample; r=result
mean t1 / s1 | 4018.5 | mean t1 / s2 | 4579.5 | mean t1 | 4299 | total mean | 4345.5625 | squared difference t1 | 2168.0664 | squared difference t1 / s1 | 78680.25 | squared difference t1 / s2 | 78680.25 | squared difference t1 / s1 / r1 | 14520.25 | squared difference t1 / s1 / r2 | 14520.25 | squared difference t1 / s2 / r1 | 12882.25 | squared difference t1 / s2 / r2 | 12882.25 | squared difference_total t1 / s1 / r1 | 200312.1914 | squared difference_total t1 / s1 / r2 | 42668.0664 | squared difference_total t1 / s2 / r1 | 14505.1914 | squared difference_total t1 / s2 / r2 | 120712.8164
mean t2 /s1 | 3951.5 | mean t2 / s2 | 4163.5 | mean t2 | 4057.5 |  |  | squared difference t2 | 82980.0039 | squared difference t2 / s1 | 11236 | squared difference t1 / s2 | 11236 | squared difference t2 / s1 / r1 | 1722.25 | squared difference t2 / s1 / r2 | 1722.25 | squared difference t2 / s2 / r1 | 1406.25 | squared difference t2 / s2 / r2 | 1406.25 | squared difference_total t2 / s1 / r1 | 189714.6914 | squared difference_total t2 / s1 / r2 | 124300.3164 | squared difference_total t2 / s2 / r1 | 20898.3164 | squared difference_total t2 / s2 / r2 | 48207.6914
mean t3 / s1 | 5805.5 | mean t3 / s2 | 3921.5 | mean t3 | 4863.5 |  |  | squared difference t3 | 268259.2539 | squared difference t3 / s1 | 887364 | squared difference t1 / s2 | 887364 | squared difference t3 / s1 / r1 | 9506.25 | squared difference t3 / s1 / r2 | 9506.25 | squared difference t3 / s2 / r1 | 19460.25 | squared difference t3 / s2 / r2 | 19460.25 | squared difference_total t3 / s1 / r1 | 1856235.9414 | squared difference_total t3 / s1 / r2 | 2425611.5664 | squared difference_total t3 / s2 / r1 | 80975.8164 | squared difference_total t3 / s2 / r2 | 317602.6914
mean t4 / s1 | 4891 | mean t4 / s2 | 5433 | mean t4 | 5162 |  |  | squared difference t4 | 666570.1914 | squared difference t4 / s1 | 73441 | squared difference t1 / s2 | 73441 | squared difference t4 / s1 / r1 | 18769 | squared difference t4 / s1 / r2 | 18769 | squared difference t4 / s2 / r1 | 289 | squared difference t4 / s2 / r2 | 289 | squared difference_total t4 / s1 / r1 | 465720.9414 | squared difference_total t4 / s1 / r2 | 166821.1914 | squared difference_total t4 / s2 / r1 | 1219782.1914 | squared difference_total t4 / s2 / r2 | 1145836.4414
mean t5 / s1 | 4520.5 | mean t5 / s2 | 4219.5 | mean t5 | 4370 |  |  | squared difference t5 | 597.1914 | squared difference t5 / s1 | 22650.25 | squared difference t1 / s2 | 22650.25 | squared difference t5 / s1 / r1 | 14280.25 | squared difference t5 / s1 / r2 | 14280.25 | squared difference t5 / s2 / r1 | 812.25 | squared difference t5 / s2 / r2 | 812.25 | squared difference_total t5 / s1 / r1 | 86693.4414 | squared difference_total t5 / s1 / r2 | 3073.3164 | squared difference_total t5 / s2 / r1 | 9518.4414 | squared difference_total t5 / s2 / r2 | 23889.5664
mean t6 / s1 | 5102.5 | mean t6 / s2 | 4750.5 | mean t6 | 4926.5 |  |  | squared difference t6 | 337488.3789 | squared difference t6 / s1 | 30976 | squared difference t1 / s2 | 30976 | squared difference t6 / s1 / r1 | 6320.25 | squared difference t6 / s1 / r2 | 6320.25 | squared difference t6 / s2 / r1 | 7832.25 | squared difference t6 / s2 / r2 | 7832.25 | squared difference_total t6 / s1 / r1 | 699627.6914 | squared difference_total t6 / s1 / r2 | 458921.5664 | squared difference_total t6 / s2 / r1 | 100132.6914 | squared difference_total t6 / s2 / r2 | 243480.5664
mean t7 / s1 | 3126 | mean t7 / s2 | 2962 | mean t7 | 3044 |  |  | squared difference t7 | 1694064.9414 | squared difference t7 / s1 | 6724 | squared difference t1 / s2 | 6724 | squared difference t7 / s1 / r1 | 9604 | squared difference t7 / s1 / r2 | 9604 | squared difference t7 / s2 / r1 | 3721 | squared difference t7 / s2 / r2 | 3721 | squared difference_total t7 / s1 / r1 | 1735970.9414 | squared difference_total t7 / s1 / r2 | 1257902.4414 | squared difference_total t7 / s2 / r1 | 1749171.5664 | squared difference_total t7 / s2 / r2 | 2086760.8164
mean t8 / s1 | 4124.5 | mean t8 / s2 | 3959.5 | mean t8 | 4042 |  |  | squared difference t8 | 92150.1914 | squared difference t8 / s1 | 6806.25 | squared difference t1 / s2 | 6806.25 | squared difference t8 / s1 / r1 | 25122.25 | squared difference t8 / s1 / r2 | 25122.25 | squared difference t8 / s2 / r1 | 29412.25 | squared difference t8 / s2 / r2 | 29412.25 | squared difference_total t8 / s1 / r1 | 144067.6914 | squared difference_total t8 / s1 / r2 | 3914.0664 | squared difference_total t8 / s2 / r1 | 46037.0664 | squared difference_total t8 / s2 / r2 | 310875.9414
mean t9 / s1 |  | mean t9 / s2 |  | mean t9 |  |  |  | squared difference t9 |  | squared difference t9 / s1 |  | squared difference t1 / s2 |  | squared difference t9 / s1 / r1 |  | squared difference t9 / s1 / r2 |  | squared difference t9 / s2 / r1 |  | squared difference t9 / s2 / r2 |  | squared difference_total t9 / s1 / r1 |  | squared difference_total t9 / s1 / r2 |  | squared difference_total t9 / s2 / r1 |  | squared difference_total t9 / s2 / r2
mean t10 / s1 |  | mean t10 / s2 |  | mean t10 |  |  |  | squared difference t10 |  | squared difference t10 / s1 |  | squared difference t1 / s2 |  | squared difference t10 / s1 / r1 |  | squared difference t10 / s1 / r2 |  | squared difference t10 / s2 / r1 |  | squared difference t10 / s2 / r2 |  | squared difference_total t10 / s1 / r1 |  | squared difference_total t10 / s1 / r2 |  | squared difference_total t10 / s2 / r1 |  | squared difference_total t10 / s2 / r2
number of targets a | 8 | [6 empty] | SS(between targets) | 12577112.875 |  |  | SS(between samples) | 4471511 | [6 empty] | SS(within samples) | 351320 | [6 empty] | SS(total) | 12992546.8438
number of samples per target | 2 | [6 empty] | MS(between targets) | 1796730.4107 |  |  | MS(between samples) | 558938.875 | [6 empty] | MS(within samples) | 21957.5
number of results per sample | 2
variance(within sample) |  | 21957.5
variance(between sample, within target) |  | 268490.6875
variance(between targets) |  | 309447.8839
total variance |  | 599896.0714
SD (within sample) |  | 148.1806 | 3.41% | analysis
SD (between sample, within target) |  | 518.1609 | 11.92% | sampling
SD (between target) |  | 556.2804 | 12.8% | between target
SD measurement |  | 538.9325 | 12.4% | measurement
total SD |  | 774.5296 | 17.82% | total