## ISO 13528_2015
Homogeneity check (ISO 13528:2015) |  |  |  | Example data
Sample t | value#1, xt,1 | value#2, xt,2
1 | 0.185 | 0.194 | 0.1895 | 2.025e-05 | 4.05e-05
2 | 0.187 | 0.189 | 0.188 | 1e-06 | 2e-06
3 | 0.182 | 0.186 | 0.184 | 4e-06 | 8e-06
4 | 0.188 | 0.196 | 0.192 | 1.6e-05 | 3.2e-05
5 | 0.191 | 0.181 | 0.186 | 2.5e-05 | 5e-05
6 | 0.188 | 0.18 | 0.184 | 1.6e-05 | 3.2e-05
7 | 0.187 | 0.196 | 0.1915 | 2.025e-05 | 4.05e-05
8 | 0.177 | 0.186 | 0.1815 | 2.025e-05 | 4.05e-05
9 | 0.179 | 0.187 | 0.183 | 1.6e-05 | 3.2e-05
10 | 0.188 | 0.196 | 0.192 | 1.6e-05 | 3.2e-05
11
12
13
14 | [5 empty] | in version 2 the Cochran-Test was added
15
16
17
18
19
20
| number of samples |  | 10
| number of replicates |  | 2
| General average |  | 0.18715
| variance of sample averages |  | 1.5836e-05 | standard dev. of sample averages |  |  | 0.0039795
| within-sample variance |  | 3.095e-05 | within-sample standard dev. |  |  | 0.0055633
| between-sample variance |  | 3.6111e-07 | between-sample standard dev. |  |  | 0.00060093
Expected standard deviation for proficiency assessment | [5 empty] | spt | 0.02807
[6 empty] | check value | 0.008421
Homogeneity |  | OK
With additional allowance for actual sampling error and repeatability (B2.3)
| 7.0913e-05 |  |  |  |  | critical F1 | 1.88
c | 0.00016458 |  |  |  |  | critical F2 | 1.01
0.012829
Homogeneity |  | OK
Critical values (additional allowance) |  |  |  | Cochran test procedure for duplicate results
g | F1 | F2
7 | 2.1 | 1.43 |  |  | 5e-05
8 | 2.01 | 1.25 |  |  | 0.0003095
9 | 1.94 | 1.11 |  | C | 0.16155
10 | 1.88 | 1.01 |  | critical value (99%) |  | 0.718 | no outlying pair
11 | 1.83 | 0.93 |  | critical value (95%) |  | 0.602 | no outlying pair
12 | 1.79 | 0.86
13 | 1.75 | 0.8
14 | 1.72 | 0.75
15 | 1.69 | 0.71
16 | 1.67 | 0.68
17 | 1.64 | 0.64
18 | 1.62 | 0.62
19 | 1.6 | 0.59
20 | 1.59 | 0.57
𝑥 ̅_𝑡
𝑠_𝑡^2
𝑤_𝑡^2
𝑥 ̿
𝑠_𝑥 ̅^2
𝑠_𝑤^2
𝑠_𝑠^2
𝑠_𝑥 ̅
𝑠_𝑤
𝑠_𝑠
𝜎_𝑎𝑙𝑙𝑜𝑤^2
√𝑐
Homogeneity check according to ISO 13528, B.2 and B.3
© 2021 Dr. Michael Koch, Univ. Stuttgart
www.aqsbw.de
michael.koch@iswa.uni-stuttgart.de
The use of this EXCEL-sheet is free, as long as the copyright statement is not removed.
𝑤_(𝑡,𝑚𝑎𝑥)^2
Σ𝑤_𝑡^2

## Cochran
Critical Values
Cochran test statistics for duplicates
| 95% | 99%
7 | 0.727 | 0.838
8 | 0.68 | 0.794
9 | 0.638 | 0.754
10 | 0.602 | 0.718
11 | 0.57 | 0.684
12 | 0.541 | 0.653
13 | 0.515 | 0.624
14 | 0.492 | 0.599
15 | 0.471 | 0.575
16 | 0.452 | 0.553
17 | 0.434 | 0.532
18 | 0.418 | 0.514
19 | 0.403 | 0.496
20 | 0.389 | 0.48